## STANDARD
Type | IOA | Point name / Message |  |  | dot_no | name
3L1T | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
3L1T | 5 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 5 | Y2 CMD
3L1T | 9 | TRx CLOSE/OPEN COMMAND | Q1 | CMD | 9 | Q1 CMD
3L1T | 13 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 13 | Y3 CMD
3L1T | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
3L1T | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
3L1T | 1002 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1002 | Y2/Lock/Unlock indication
3L1T | 1003 | LBS2 GROUND INDICATION | KY2 | state | 1003 | KY2 state
3L1T | 1004 | TRx LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1004 | Q1/Lock/Unlock indication
3L1T | 1005 | TRx GROUND INDICATION | KQ1 | state | 1005 | KQ1 state
3L1T | 1006 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1006 | Y3/Lock/Unlock indication
3L1T | 1007 | LBS3 GROUND INDICATION | KY3 | state | 1007 | KY3 state
3L1T | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
3L1T | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
3L1T | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
3L1T | 1011 | Door open | COMMON | Door open | 1011 | Door open
3L1T | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
3L1T | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
3L1T | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
3L1T | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
3L1T | 1279 | Protection Health (Normal/Fail) |  | Protection Health | 1279 | Protection Health
3L1T | 1280 | Protection Trip (Earth fault) |  | Protection Trip (Earth fault) | 1280 | Protection Trip (Earth fault)
3L1T | 1281 | Protection Trip (Phase fault) |  | Protection Trip (Phase fault) | 1281 | Protection Trip (Phase fault)
3L1T | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
3L1T | 11001 | LBS2 CLOSE INDICATION | Y2 | state | 11001 | Y2 state
3L1T | 11002 | TRx CLOSE INDICATION | Q1 | state | 11002 | Q1 state
3L1T | 11003 | LBS3 CLOSE INDICATION | Y3 | state | 11003 | Y3 state
3L1T | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
3L1T | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
3L1T | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
3L1T | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
3L1T | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
3L1T | 13019 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13019 | Y2 I_Current(A)
3L1T | 13020 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13020 | Y2 I_Current(B)
3L1T | 13021 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13021 | Y2 I_Current(C)
3L1T | 13022 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13022 | Y2 I_Current(N)
3L1T | 13023 | TRx I_Current (A) | Q1 | I_Current(A) | 13023 | Q1 I_Current(A)
3L1T | 13024 | TRx I_Current (B) | Q1 | I_Current(B) | 13024 | Q1 I_Current(B)
3L1T | 13025 | TRx I_Current (C) | Q1 | I_Current(C) | 13025 | Q1 I_Current(C)
3L1T | 13026 | TRx I_Current (N) | Q1 | I_Current(N) | 13026 | Q1 I_Current(N)
3L1T | 13027 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13027 | Y3 I_Current(A)
3L1T | 13028 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13028 | Y3 I_Current(B)
3L1T | 13029 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13029 | Y3 I_Current(C)
3L1T | 13030 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13030 | Y3 I_Current(N)
3L1T | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
3L1T | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
3L1T | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
3L1T | 13060 | LBS2 S (KVA) | Y2 | S(kVA) | 13060 | Y2 S(kVA)
3L1T | 13061 | LBS2 P (KW) | Y2 | P(kW) | 13061 | Y2 P(kW)
3L1T | 13062 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13062 | Y2 Q(kVar)
3L1T | 13063 | TRx V_voltage (A-B) | Q1 | V_voltage(A-B) | 13063 | Q1 V_voltage(A-B)
3L1T | 13064 | TRx V_voltage (B-C) | Q1 | V_voltage(B-C) | 13064 | Q1 V_voltage(B-C)
3L1T | 13065 | TRx V_voltage (C-A) | Q1 | V_voltage(C-A) | 13065 | Q1 V_voltage(C-A)
3L1T | 13066 | TRx V_voltage (N) | Q1 | V_voltage(N) | 13066 | Q1 V_voltage(N)
3L1T | 13067 | TRx S (KVA) | Q1 | S(kVA) | 13067 | Q1 S(kVA)
3L1T | 13068 | TRx P (KW) | Q1 | P(kW) | 13068 | Q1 P(kW)
3L1T | 13069 | TRx Q (KVAR) | Q1 | Q(kVar) | 13069 | Q1 Q(kVar)
3L1T | 13070 | TRx Power Factor | Q1 | Power Factor | 13070 | Q1 Power Factor
3L1T | 13071 | LBS3 S (KVA) | Y3 | S(kVA) | 13071 | Y3 S(kVA)
3L1T | 13072 | LBS3 P (KW) | Y3 | P(kW) | 13072 | Y3 P(kW)
3L1T | 13073 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13073 | Y3 Q(kVar)
2L1T | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
2L1T | 5 | TRx CLOSE/OPEN COMMAND | Q1 | CMD | 5 | Q1 CMD
2L1T | 9 | LBS2 CLOSE COMMAND | Y2 | CMD | 9 | Y2 CMD
2L1T | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
2L1T | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
2L1T | 1002 | TRx LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1002 | Q1/Lock/Unlock indication
2L1T | 1003 | TRx GROUND INDICATION | KQ1 | state | 1003 | KQ1 state
2L1T | 1004 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1004 | Y2/Lock/Unlock indication
2L1T | 1005 | LBS2 GROUND INDICATION | KY2 | state | 1005 | KY2 state
2L1T | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
2L1T | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
2L1T | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
2L1T | 1011 | Door open | COMMON | Door open | 1011 | Door open
2L1T | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
2L1T | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
2L1T | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
2L1T | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
2L1T | 1279 | Protection Health (Normal/Fail) |  | Protection Health | 1279 | Protection Health
2L1T | 1280 | Protection Trip (Earth fault) |  | Protection Trip (Earth fault) | 1280 | Protection Trip (Earth fault)
2L1T | 1281 | Protection Trip (Phase fault) |  | Protection Trip (Phase fault) | 1281 | Protection Trip (Phase fault)
2L1T | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
2L1T | 11001 | TRx CLOSE INDICATION | Q1 | state | 11001 | Q1 state
2L1T | 11002 | LBS2 CLOSE INDICATION | Y2 | state | 11002 | Y2 state
2L1T | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
2L1T | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
2L1T | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
2L1T | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
2L1T | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
2L1T | 13019 | TRx I_Current (A) | Q1 | I_Current(A) | 13019 | Q1 I_Current(A)
2L1T | 13020 | TRx I_Current (B) | Q1 | I_Current(B) | 13020 | Q1 I_Current(B)
2L1T | 13021 | TRx I_Current (C) | Q1 | I_Current(C) | 13021 | Q1 I_Current(C)
2L1T | 13022 | TRx I_Current (N) | Q1 | I_Current(N) | 13022 | Q1 I_Current(N)
2L1T | 13023 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13023 | Y2 I_Current(A)
2L1T | 13024 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13024 | Y2 I_Current(B)
2L1T | 13025 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13025 | Y2 I_Current(C)
2L1T | 13026 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13026 | Y2 I_Current(N)
2L1T | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
2L1T | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
2L1T | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
2L1T | 13060 | TRx V_voltage (A-B) | Q1 | V_voltage(A-B) | 13060 | Q1 V_voltage(A-B)
2L1T | 13061 | TRx V_voltage (B-C) | Q1 | V_voltage(B-C) | 13061 | Q1 V_voltage(B-C)
2L1T | 13062 | TRx V_voltage (C-A) | Q1 | V_voltage(C-A) | 13062 | Q1 V_voltage(C-A)
2L1T | 13063 | TRx V_voltage (N) | Q1 | V_voltage(N) | 13063 | Q1 V_voltage(N)
2L1T | 13064 | TRx S (KVA) | Q1 | S(kVA) | 13064 | Q1 S(kVA)
2L1T | 13065 | TRx P (KW) | Q1 | P(kW) | 13065 | Q1 P(kW)
2L1T | 13066 | TRx Q (KVAR) | Q1 | Q(kVar) | 13066 | Q1 Q(kVar)
2L1T | 13067 | TRx Power Factor | Q1 | Power Factor | 13067 | Q1 Power Factor
2L1T | 13068 | LBS2 S (KVA) | Y2 | S(kVA) | 13068 | Y2 S(kVA)
2L1T | 13069 | LBS2 P (KW) | Y2 | P(kW) | 13069 | Y2 P(kW)
2L1T | 13070 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13070 | Y2 Q(kVar)
2L1T-MRMU | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
2L1T-MRMU | 5 | TRx CLOSE/OPEN COMMAND | Q1 | CMD | 5 | Q1 CMD
2L1T-MRMU | 9 | LBS2 CLOSE COMMAND | Y2 | CMD | 9 | Y2 CMD
2L1T-MRMU | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
2L1T-MRMU | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
2L1T-MRMU | 1002 | TRx LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1002 | Q1/Lock/Unlock indication
2L1T-MRMU | 1003 | TRx GROUND INDICATION | KQ1 | state | 1003 | KQ1 state
2L1T-MRMU | 1004 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1004 | Y2/Lock/Unlock indication
2L1T-MRMU | 1005 | LBS2 GROUND INDICATION | KY2 | state | 1005 | KY2 state
2L1T-MRMU | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
2L1T-MRMU | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
2L1T-MRMU | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
2L1T-MRMU | 1011 | Door open | COMMON | Door open | 1011 | Door open
2L1T-MRMU | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
2L1T-MRMU | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
2L1T-MRMU | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
2L1T-MRMU | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
2L1T-MRMU | 1279 | Protection Health (Normal/Fail) |  | Protection Health | 1279 | Protection Health
2L1T-MRMU | 1280 | Protection Trip (Earth fault) |  | Protection Trip (Earth fault) | 1280 | Protection Trip (Earth fault)
2L1T-MRMU | 1281 | Protection Trip (Phase fault) |  | Protection Trip (Phase fault) | 1281 | Protection Trip (Phase fault)
2L1T-MRMU | 1283 | Load management system operate | COMMON | Load Management system operate | 1283 | COMMON Load Management system operate
2L1T-MRMU | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
2L1T-MRMU | 11001 | TRx CLOSE INDICATION | Q1 | state | 11001 | Q1 state
2L1T-MRMU | 11002 | LBS2 CLOSE INDICATION | Y2 | state | 11002 | Y2 state
2L1T-MRMU | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
2L1T-MRMU | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
2L1T-MRMU | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
2L1T-MRMU | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
2L1T-MRMU | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
2L1T-MRMU | 13019 | TRx I_Current (A) | Q1 | I_Current(A) | 13019 | Q1 I_Current(A)
2L1T-MRMU | 13020 | TRx I_Current (B) | Q1 | I_Current(B) | 13020 | Q1 I_Current(B)
2L1T-MRMU | 13021 | TRx I_Current (C) | Q1 | I_Current(C) | 13021 | Q1 I_Current(C)
2L1T-MRMU | 13022 | TRx I_Current (N) | Q1 | I_Current(N) | 13022 | Q1 I_Current(N)
2L1T-MRMU | 13023 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13023 | Y2 I_Current(A)
2L1T-MRMU | 13024 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13024 | Y2 I_Current(B)
2L1T-MRMU | 13025 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13025 | Y2 I_Current(C)
2L1T-MRMU | 13026 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13026 | Y2 I_Current(N)
2L1T-MRMU | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
2L1T-MRMU | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
2L1T-MRMU | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
2L1T-MRMU | 13060 | TRx V_voltage (A-B) | Q1 | V_voltage(A-B) | 13060 | Q1 V_voltage(A-B)
2L1T-MRMU | 13061 | TRx V_voltage (B-C) | Q1 | V_voltage(B-C) | 13061 | Q1 V_voltage(B-C)
2L1T-MRMU | 13062 | TRx V_voltage (C-A) | Q1 | V_voltage(C-A) | 13062 | Q1 V_voltage(C-A)
2L1T-MRMU | 13063 | TRx V_voltage (N) | Q1 | V_voltage(N) | 13063 | Q1 V_voltage(N)
2L1T-MRMU | 13064 | TRx S (KVA) | Q1 | S(kVA) | 13064 | Q1 S(kVA)
2L1T-MRMU | 13065 | TRx P (KW) | Q1 | P(kW) | 13065 | Q1 P(kW)
2L1T-MRMU | 13066 | TRx Q (KVAR) | Q1 | Q(kVar) | 13066 | Q1 Q(kVar)
2L1T-MRMU | 13067 | TRx Power Factor | Q1 | Power Factor | 13067 | Q1 Power Factor
2L1T-MRMU | 13068 | LBS2 S (KVA) | Y2 | S(kVA) | 13068 | Y2 S(kVA)
2L1T-MRMU | 13069 | LBS2 P (KW) | Y2 | P(kW) | 13069 | Y2 P(kW)
2L1T-MRMU | 13070 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13070 | Y2 Q(kVar)
2L2T | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
2L2T | 5 | TRx1 CLOSE COMMAND | Q1 | CMD | 5 | Q1 CMD
2L2T | 9 | TRx2 CLOSE COMMAND | Q2 | CMD | 9 | Q2 CMD
2L2T | 13 | LBS2 CLOSE COMMAND | Y2 | CMD | 13 | Y2 CMD
2L2T | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
2L2T | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
2L2T | 1002 | TRx1 LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1002 | Q1/Lock/Unlock indication
2L2T | 1003 | TRx1 GROUND INDICATION | KQ1 | state | 1003 | KQ1 state
2L2T | 1004 | TRx2 LOCK/UNLOCK INDICATION | Q2 | Lock/Unlock indication | 1004 | Q2/Lock/Unlock indication
2L2T | 1005 | TRx2 GROUND INDICATION | KQ2 | state | 1005 | KQ2 state
2L2T | 1006 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1006 | Y2/Lock/Unlock indication
2L2T | 1007 | LBS2 GROUND INDICATION | KY2 | state | 1007 | KY2 state
2L2T | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
2L2T | 1009 | Gas Low | COMMON | GAS LOW | 1009 | GAS LOW
2L2T | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
2L2T | 1011 | Door open | COMMON | Door open | 1011 | Door open
2L2T | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
2L2T | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
2L2T | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
2L2T | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
2L2T | 1279 | TRx1 Protection#1 Health (Normal/Fail) | Q1 | Protection Health | 1279 | Q1/Protection Health
2L2T | 1280 | TRx1 Protection#1 Trip (Earth fault) | Q1 | Protection Trip (Earth fault) | 1280 | Q1/Protection Trip (Earth fault)
2L2T | 1281 | TRx1 Protection#1 Trip (Phase fault) | Q1 | Protection Trip (Phase fault) | 1281 | Q1/Protection Trip (Phase fault)
2L2T | 1282 | TRx2 Protection#1 Health (Normal/Fail) | Q2 | Protection Health | 1282 | Q2/Protection Health
2L2T | 1283 | TRx2 Protection#1 Trip (Earth fault) | Q2 | Protection Trip (Earth fault) | 1283 | Q2/Protection Trip (Earth fault)
2L2T | 1284 | TRx2 Protection#1 Trip (Phase fault) | Q2 | Protection Trip (Phase fault) | 1284 | Q2/Protection Trip (Phase fault)
2L2T | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
2L2T | 11001 | TRx1 CLOSE INDICATION | Q1 | state | 11001 | Q1 state
2L2T | 11002 | TRx2 CLOSE INDICATION | Q2 | state | 11002 | Q2 state
2L2T | 11003 | LBS2 CLOSE INDICATION | Y2 | state | 11003 | Y2 state
2L2T | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
2L2T | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
2L2T | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
2L2T | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
2L2T | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
2L2T | 13019 | TRx1 I_Current (A) | Q1 | I_Current(A) | 13019 | Q1 I_Current(A)
2L2T | 13020 | TRx1 I_Current (B) | Q1 | I_Current(B) | 13020 | Q1 I_Current(B)
2L2T | 13021 | TRx1 I_Current (C) | Q1 | I_Current(C) | 13021 | Q1 I_Current(C)
2L2T | 13022 | TRx1 I_Current (N) | Q1 | I_Current(N) | 13022 | Q1 I_Current(N)
2L2T | 13023 | TRx2 I_Current (A) | Q2 | I_Current(A) | 13023 | Q2 I_Current(A)
2L2T | 13024 | TRx2 I_Current (B) | Q2 | I_Current(B) | 13024 | Q2 I_Current(B)
2L2T | 13025 | TRx2 I_Current (C) | Q2 | I_Current(C) | 13025 | Q2 I_Current(C)
2L2T | 13026 | TRx2 I_Current (N) | Q2 | I_Current(N) | 13026 | Q2 I_Current(N)
2L2T | 13027 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13027 | Y2 I_Current(A)
2L2T | 13028 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13028 | Y2 I_Current(B)
2L2T | 13029 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13029 | Y2 I_Current(C)
2L2T | 13030 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13030 | Y2 I_Current(N)
2L2T | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
2L2T | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
2L2T | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
2L2T | 13060 | TRx1 S (KVA) | Q1 | S(kVA) | 13060 | Q1 S(kVA)
2L2T | 13061 | TRx1 P (KW) | Q1 | P(kW) | 13061 | Q1 P(kW)
2L2T | 13062 | TRx1 Q (KVAR) | Q1 | Q(kVar) | 13062 | Q1 Q(kVar)
2L2T | 13063 | TRx2 V_voltage (A-B) | Q2 | V_voltage (A-B) | 13063 | Q2 V_voltage (A-B)
2L2T | 13064 | TRx2 V_voltage (B-C) | Q2 | V_voltage (B-C) | 13064 | Q2 V_voltage (B-C)
2L2T | 13065 | TRx2 V_voltage (C-A) | Q2 | V_voltage (C-A) | 13065 | Q2 V_voltage (C-A)
2L2T | 13066 | TRx2 V_voltage (N) | Q2 | V_voltage (N) | 13066 | Q2 V_voltage (N)
2L2T | 13067 | TRx2 S (KVA) | Q2 | S(kVA) | 13067 | Q2 S(kVA)
2L2T | 13068 | TRx2 P (KW) | Q2 | P(kW) | 13068 | Q2 P(kW)
2L2T | 13069 | TRx2 Q (KVAR) | Q2 | Q(kVar) | 13069 | Q2 Q(kVar)
2L2T | 13070 | TRx2 Power Factor | Q2 | Power Factor | 13070 | Q2 Power Factor
2L2T | 13071 | LBS2 S (KVA) | Y2 | S(kVA) | 13071 | Y2 S(kVA)
2L2T | 13072 | LBS2 P (KW) | Y2 | P(kW) | 13072 | Y2 P(kW)
2L2T | 13073 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13073 | Y2 Q(kVar)
2L2T-MRMU | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
2L2T-MRMU | 5 | TRx1 CLOSE COMMAND | Q1 | CMD | 5 | Q1 CMD
2L2T-MRMU | 9 | TRx2 CLOSE COMMAND | Q2 | CMD | 9 | Q2 CMD
2L2T-MRMU | 13 | LBS2 CLOSE COMMAND | Y2 | CMD | 13 | Y2 CMD
2L2T-MRMU | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
2L2T-MRMU | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
2L2T-MRMU | 1002 | TRx1 LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1002 | Q1/Lock/Unlock indication
2L2T-MRMU | 1003 | TRx1 GROUND INDICATION | KQ1 | state | 1003 | KQ1 state
2L2T-MRMU | 1004 | TRx2 LOCK/UNLOCK INDICATION | Q2 | Lock/Unlock indication | 1004 | Q2/Lock/Unlock indication
2L2T-MRMU | 1005 | TRx2 GROUND INDICATION | KQ2 | state | 1005 | KQ2 state
2L2T-MRMU | 1006 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1006 | Y2/Lock/Unlock indication
2L2T-MRMU | 1007 | LBS2 GROUND INDICATION | KY2 | state | 1007 | KY2 state
2L2T-MRMU | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
2L2T-MRMU | 1009 | Gas Low | COMMON | GAS LOW | 1009 | GAS LOW
2L2T-MRMU | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
2L2T-MRMU | 1011 | Door open | COMMON | Door open | 1011 | Door open
2L2T-MRMU | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
2L2T-MRMU | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
2L2T-MRMU | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
2L2T-MRMU | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
2L2T-MRMU | 1279 | TRx1 Protection#1 Health (Normal/Fail) | Q1 | Protection Health | 1279 | Q1/Protection Health
2L2T-MRMU | 1280 | TRx1 Protection#1 Trip (Earth fault) | Q1 | Protection Trip (Earth fault) | 1280 | Q1/Protection Trip (Earth fault)
2L2T-MRMU | 1281 | TRx1 Protection#1 Trip (Phase fault) | Q1 | Protection Trip (Phase fault) | 1281 | Q1/Protection Trip (Phase fault)
2L2T-MRMU | 1283 | Protection#2 Trip (Earth fault) | Q2 | Protection Trip (Earth fault) | 1283 | Q2/Protection Trip (Earth fault)
2L2T-MRMU | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
2L2T-MRMU | 11001 | TRx1 CLOSE INDICATION | Q1 | state | 11001 | Q1 state
2L2T-MRMU | 11002 | TRx2 CLOSE INDICATION | Q2 | state | 11002 | Q2 state
2L2T-MRMU | 11003 | LBS2 CLOSE INDICATION | Y2 | state | 11003 | Y2 state
2L2T-MRMU | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
2L2T-MRMU | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
2L2T-MRMU | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
2L2T-MRMU | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
2L2T-MRMU | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
2L2T-MRMU | 13019 | TRx1 I_Current (A) | Q1 | I_Current(A) | 13019 | Q1 I_Current(A)
2L2T-MRMU | 13020 | TRx1 I_Current (B) | Q1 | I_Current(B) | 13020 | Q1 I_Current(B)
2L2T-MRMU | 13021 | TRx1 I_Current (C) | Q1 | I_Current(C) | 13021 | Q1 I_Current(C)
2L2T-MRMU | 13022 | TRx1 I_Current (N) | Q1 | I_Current(N) | 13022 | Q1 I_Current(N)
2L2T-MRMU | 13023 | TRx2 I_Current (A) | Q2 | I_Current(A) | 13023 | Q2 I_Current(A)
2L2T-MRMU | 13024 | TRx2 I_Current (B) | Q2 | I_Current(B) | 13024 | Q2 I_Current(B)
2L2T-MRMU | 13025 | TRx2 I_Current (C) | Q2 | I_Current(C) | 13025 | Q2 I_Current(C)
2L2T-MRMU | 13026 | TRx2 I_Current (N) | Q2 | I_Current(N) | 13026 | Q2 I_Current(N)
2L2T-MRMU | 13027 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13027 | Y2 I_Current(A)
2L2T-MRMU | 13028 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13028 | Y2 I_Current(B)
2L2T-MRMU | 13029 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13029 | Y2 I_Current(C)
2L2T-MRMU | 13030 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13030 | Y2 I_Current(N)
2L2T-MRMU | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
2L2T-MRMU | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
2L2T-MRMU | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
2L2T-MRMU | 13060 | TRx1 S (KVA) | Q1 | S(kVA) | 13060 | Q1 S(kVA)
2L2T-MRMU | 13061 | TRx1 P (KW) | Q1 | P(kW) | 13061 | Q1 P(kW)
2L2T-MRMU | 13062 | TRx1 Q (KVAR) | Q1 | Q(kVar) | 13062 | Q1 Q(kVar)
2L2T-MRMU | 13063 | TRx2 V_voltage (A-B) | Q2 | V_voltage (A-B) | 13063 | Q2 V_voltage (A-B)
2L2T-MRMU | 13064 | TRx2 V_voltage (B-C) | Q2 | V_voltage (B-C) | 13064 | Q2 V_voltage (B-C)
2L2T-MRMU | 13065 | TRx2 V_voltage (C-A) | Q2 | V_voltage (C-A) | 13065 | Q2 V_voltage (C-A)
2L2T-MRMU | 13066 | TRx2 V_voltage (N) | Q2 | V_voltage (N) | 13066 | Q2 V_voltage (N)
2L2T-MRMU | 13067 | TRx2 S (KVA) | Q2 | S(kVA) | 13067 | Q2 S(kVA)
2L2T-MRMU | 13068 | TRx2 P (KW) | Q2 | P(kW) | 13068 | Q2 P(kW)
2L2T-MRMU | 13069 | TRx2 Q (KVAR) | Q2 | Q(kVar) | 13069 | Q2 Q(kVar)
2L2T-MRMU | 13070 | TRx2 Power Factor | Q2 | Power Factor | 13070 | Q2 Power Factor
2L2T-MRMU | 13071 | LBS2 S (KVA) | Y2 | S(kVA) | 13071 | Y2 S(kVA)
2L2T-MRMU | 13072 | LBS2 P (KW) | Y2 | P(kW) | 13072 | Y2 P(kW)
2L2T-MRMU | 13073 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13073 | Y2 Q(kVar)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
3L1T-MRMU (TR&Y2 ARE INVERSED) | 5 | TRx CLOSE/OPEN COMMAND | Q1 | CMD | 5 | Q1 CMD
3L1T-MRMU (TR&Y2 ARE INVERSED) | 9 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 9 | Y2 CMD
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 13 | Y3 CMD
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1002 | TRx LOCK/UNLOCK INDICATION | Q1 | Lock/Unlock indication | 1002 | Q1/Lock/Unlock indication
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1003 | TRx GROUND INDICATION | KQ1 | state | 1003 | KQ1 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1004 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1004 | Y2/Lock/Unlock indication
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1005 | LBS2 GROUND INDICATION | KY2 | state | 1005 | KY2 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1006 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1006 | Y3/Lock/Unlock indication
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1007 | LBS3 GROUND INDICATION | KY3 | state | 1007 | KY3 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1011 | Door open | COMMON | Door open | 1011 | Door open
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1278 | EFI (FAULT INDICATION) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1279 | Protection Health (Normal/Fail) | Q1 | Protection Health | 1279 | Protection Health
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1280 | Protection Trip (Earth fault) | Q1 | Protection Trip (Earth fault) | 1280 | Protection Trip (Earth fault)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1281 | Protection Trip (Phase fault) | Q1 | Protection Trip (Phase fault) | 1281 | Protection Trip (Phase fault)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 1283 | Load management system operate
3L1T-MRMU (TR&Y2 ARE INVERSED) | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 11001 | TRx CLOSE INDICATION | Q1 | state | 11001 | Q1 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 11002 | LBS2 CLOSE INDICATION | Y2 | state | 11002 | Y2 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 11003 | LBS3 CLOSE INDICATION | Y3 | state | 11003 | Y3 state
3L1T-MRMU (TR&Y2 ARE INVERSED) | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13019 | TRx I_Current (A) | Q1 | I_Current(A) | 13019 | Q1 I_Current(A)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13020 | TRx I_Current (B) | Q1 | I_Current(B) | 13020 | Q1 I_Current(B)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13021 | TRx I_Current (C) | Q1 | I_Current(C) | 13021 | Q1 I_Current(C)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13022 | TRx I_Current (N) | Q1 | I_Current(N) | 13022 | Q1 I_Current(N)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13023 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13023 | Y2 I_Current(A)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13024 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13024 | Y2 I_Current(B)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13025 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13025 | Y2 I_Current(C)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13026 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13026 | Y2 I_Current(N)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13027 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13027 | Y3 I_Current(A)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13028 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13028 | Y3 I_Current(B)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13029 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13029 | Y3 I_Current(C)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13030 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13030 | Y3 I_Current(N)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13060 | TRx S (KVA) | Q1 | S(kVA) | 13060 | Q1 S(kVA)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13061 | TRx P (KW) | Q1 | P(kW) | 13061 | Q1 P(kW)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13062 | TRx Q (KVAR) | Q1 | Q(kVar) | 13062 | Q1 Q(kVar)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13063 | TRx V_voltage (A-B) | Q1 | V_voltage(A-B) | 13063 | Q1 V_voltage(A-B)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13064 | TRx V_voltage (B-C) | Q1 | V_voltage(B-C) | 13064 | Q1 V_voltage(B-C)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13065 | TRx V_voltage (C-A) | Q1 | V_voltage(C-A) | 13065 | Q1 V_voltage(C-A)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13066 | TRx V_voltage (N) | Q1 | V_voltage(N) | 13066 | Q1 V_voltage(N)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13067 | LBS2 S (KVA) | Y2 | S(kVA) | 13067 | Y2 S(kVA)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13068 | LBS2 P (KW) | Y2 | P(kW) | 13068 | Y2 P(kW)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13069 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13069 | Y2 Q(kVar)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13070 | TRx Power Factor | Q1 | Power Factor | 13070 | Q1 Power Factor
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13071 | LBS3 S (KVA) | Y3 | S(kVA) | 13071 | Y3 S(kVA)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13072 | LBS3 P (KW) | Y3 | P(kW) | 13072 | Y3 P(kW)
3L1T-MRMU (TR&Y2 ARE INVERSED) | 13073 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13073 | Y3 Q(kVar)
3L | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
3L | 5 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 5 | Y2 CMD
3L | 9 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 9 | Y3 CMD
3L | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
3L | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
3L | 1002 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1002 | Y2/Lock/Unlock indication
3L | 1003 | LBS2 GROUND INDICATION | KY2 | state | 1003 | KY2 state
3L | 1004 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1004 | Y3/Lock/Unlock indication
3L | 1005 | LBS3 GROUND INDICATION | KY3 | state | 1005 | KY3 state
3L | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
3L | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
3L | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
3L | 1011 | Door open | COMMON | Door open | 1011 | Door open
3L | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
3L | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
3L | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
3L | 1278 | Fault Indication ( from FI device) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
3L | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
3L | 11001 | LBS2 CLOSE INDICATION | Y2 | state | 11001 | Y2 state
3L | 11002 | LBS3 CLOSE INDICATION | Y3 | state | 11002 | Y3 state
3L | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
3L | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
3L | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
3L | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
3L | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
3L | 13019 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13019 | Y2 I_Current(A)
3L | 13020 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13020 | Y2 I_Current(B)
3L | 13021 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13021 | Y2 I_Current(C)
3L | 13022 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13022 | Y2 I_Current(N)
3L | 13023 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13023 | Y3 I_Current(A)
3L | 13024 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13024 | Y3 I_Current(B)
3L | 13025 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13025 | Y3 I_Current(C)
3L | 13026 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13026 | Y3 I_Current(N)
3L | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
3L | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
3L | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
3L | 13060 | LBS2 V_voltage (A-B) | Y2 | V_voltage (A-B) | 13060 | Y2 V_voltage (A-B)
3L | 13061 | LBS2 V_voltage (B-C) | Y2 | V_voltage (B-C) | 13061 | Y2 V_voltage (B-C)
3L | 13062 | LBS2 V_voltage (C-A) | Y2 | V_voltage (C-A) | 13062 | Y2 V_voltage (C-A)
3L | 13063 | LBS2 V_voltage (N) | Y2 | V_voltage (N) | 13063 | Y2 V_voltage (N)
3L | 13064 | LBS2 S (KVA) | Y2 | S(kVA) | 13064 | Y2 S(kVA)
3L | 13065 | LBS2 P (KW) | Y2 | P(kW) | 13065 | Y2 P(kW)
3L | 13066 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13066 | Y2 Q(kVar)
3L | 13067 | LBS2 Power Factor | Y2 | Power Factor | 13067 | Y2 Power Factor
3L | 13068 | LBS3 S (KVA) | Y3 | S(kVA) | 13068 | Y3 S(kVA)
3L | 13069 | LBS3 P (KW) | Y3 | P(kW) | 13069 | Y3 P(kW)
3L | 13070 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13070 | Y3 Q(kVar)
3L-MRMU | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
3L-MRMU | 5 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 5 | Y2 CMD
3L-MRMU | 9 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 9 | Y3 CMD
3L-MRMU | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
3L-MRMU | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
3L-MRMU | 1002 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1002 | Y2/Lock/Unlock indication
3L-MRMU | 1003 | LBS2 GROUND INDICATION | KY2 | state | 1003 | KY2 state
3L-MRMU | 1004 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1004 | Y3/Lock/Unlock indication
3L-MRMU | 1005 | LBS3 GROUND INDICATION | KY3 | state | 1005 | KY3 state
3L-MRMU | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
3L-MRMU | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
3L-MRMU | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
3L-MRMU | 1011 | Door open | COMMON | Door open | 1011 | Door open
3L-MRMU | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
3L-MRMU | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
3L-MRMU | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
3L-MRMU | 1278 | Fault Indication ( from FI device) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
3L-MRMU | 1283 | Load management system operate
3L-MRMU | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
3L-MRMU | 11001 | LBS2 CLOSE INDICATION | Y2 | state | 11001 | Y2 state
3L-MRMU | 11002 | LBS3 CLOSE INDICATION | Y3 | state | 11002 | Y3 state
3L-MRMU | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
3L-MRMU | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
3L-MRMU | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
3L-MRMU | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
3L-MRMU | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
3L-MRMU | 13019 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13019 | Y2 I_Current(A)
3L-MRMU | 13020 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13020 | Y2 I_Current(B)
3L-MRMU | 13021 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13021 | Y2 I_Current(C)
3L-MRMU | 13022 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13022 | Y2 I_Current(N)
3L-MRMU | 13023 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13023 | Y3 I_Current(A)
3L-MRMU | 13024 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13024 | Y3 I_Current(B)
3L-MRMU | 13025 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13025 | Y3 I_Current(C)
3L-MRMU | 13026 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13026 | Y3 I_Current(N)
3L-MRMU | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
3L-MRMU | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
3L-MRMU | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
3L-MRMU | 13060 | LBS2 V_voltage (A-B) | COMMON | V_voltage (A-B) | 13060 | COMMON V_voltage (A-B)
3L-MRMU | 13061 | LBS2 V_voltage (B-C) | COMMON | V_voltage (B-C) | 13061 | COMMON V_voltage (B-C)
3L-MRMU | 13062 | LBS2 V_voltage (C-A) | COMMON | V_voltage (C-A) | 13062 | COMMON V_voltage (C-A)
3L-MRMU | 13063 | LBS2 V_voltage (N) | COMMON | V_voltage (N) | 13063 | COMMON V_voltage (N)
3L-MRMU | 13064 | LBS2 S (KVA) | Y2 | S(kVA) | 13064 | Y2 S(kVA)
3L-MRMU | 13065 | LBS2 P (KW) | Y2 | P(kW) | 13065 | Y2 P(kW)
3L-MRMU | 13066 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13066 | Y2 Q(kVar)
3L-MRMU | 13067 | LBS2 Power Factor | Y2 | Power Factor | 13067 | Y2 Power Factor
3L-MRMU | 13068 | LBS3 S (KVA) | Y3 | S(kVA) | 13068 | Y3 S(kVA)
3L-MRMU | 13069 | LBS3 P (KW) | Y3 | P(kW) | 13069 | Y3 P(kW)
3L-MRMU | 13070 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13070 | Y3 Q(kVar)
4L | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
4L | 5 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 5 | Y2 CMD
4L | 9 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 9 | Y3 CMD
4L | 13 | LBS4 CLOSE/OPEN COMMAND | Y4 | CMD | 13 | Y4 CMD
4L | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
4L | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
4L | 1002 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1002 | Y2/Lock/Unlock indication
4L | 1003 | LBS2 GROUND INDICATION | KY2 | state | 1003 | KY2 state
4L | 1004 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1004 | Y3/Lock/Unlock indication
4L | 1005 | LBS3 GROUND INDICATION | KY3 | state | 1005 | KY3 state
4L | 1006 | LBS4 LOCK/UNLOCK INDICATION | Y4 | Lock/Unlock indication | 1006 | Y4/Lock/Unlock indication
4L | 1007 | LBS4 GROUND INDICATION | KY4 | state | 1007 | KY4 state
4L | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
4L | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
4L | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
4L | 1011 | Door open | COMMON | Door open | 1011 | Door open
4L | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
4L | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
4L | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
4L | 1278 | Fault Indication ( from FI device) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
4L | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
4L | 11001 | LBS2 CLOSE INDICATION | Y2 | state | 11001 | Y2 state
4L | 11002 | LBS3 CLOSE INDICATION | Y3 | state | 11002 | Y3 state
4L | 11003 | LBS4 CLOSE INDICATION | Y4 | OPEN INDICATION | 11003 | Y4 OPEN INDICATION
4L | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
4L | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
4L | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
4L | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
4L | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
4L | 13019 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13019 | Y2 I_Current(A)
4L | 13020 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13020 | Y2 I_Current(B)
4L | 13021 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13021 | Y2 I_Current(C)
4L | 13022 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13022 | Y2 I_Current(N)
4L | 13023 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13023 | Y3 I_Current(A)
4L | 13024 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13024 | Y3 I_Current(B)
4L | 13025 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13025 | Y3 I_Current(C)
4L | 13026 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13026 | Y3 I_Current(N)
4L | 13027 | LBS4 I_Current (A) | Y4 | I_Current(A) | 13027 | Y4 I_Current(A)
4L | 13028 | LBS4 I_Current (B) | Y4 | I_Current(B) | 13028 | Y4 I_Current(B)
4L | 13029 | LBS4 I_Current (C) | Y4 | I_Current(C) | 13029 | Y4 I_Current(C)
4L | 13030 | LBS4 I_Current (N) | Y4 | I_Current(N) | 13030 | Y4 I_Current(N)
4L | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
4L | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
4L | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
4L | 13060 | LBS2 S (KVA) | Y2 | S(kVA) | 13060 | Y2 S(kVA)
4L | 13061 | LBS2 P (KW) | Y2 | P(kW) | 13061 | Y2 P(kW)
4L | 13062 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13062 | Y2 Q(kVar)
4L | 13063 | LBS3 V_voltage (A-B) | COMMON | V_voltage (A-B) | 13063 | COMMON V_voltage (A-B)
4L | 13064 | LBS3 V_voltage (B-C) | COMMON | V_voltage (B-C) | 13064 | COMMON V_voltage (B-C)
4L | 13065 | LBS3 V_voltage (C-A) | COMMON | V_voltage (C-A) | 13065 | COMMON V_voltage (C-A)
4L | 13066 | LBS3 V_voltage (N) | COMMON | V_voltage (N) | 13066 | COMMON V_voltage (N)
4L | 13067 | LBS3 S (KVA) | Y3 | S(kVA) | 13067 | Y3 S(kVA)
4L | 13068 | LBS3 P (KW) | Y3 | P(kW) | 13068 | Y3 P(kW)
4L | 13069 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13069 | Y3 Q(kVar)
4L | 13070 | LBS3 Power Factor | Y3 | Power Factor | 13070 | Y3 Power Factor
4L | 13071 | LBS4 S (KVA) | Y4 | S(kVA) | 13071 | Y4 S(kVA)
4L | 13072 | LBS4 P (KW) | Y4 | P(kW) | 13072 | Y4 P(kW)
4L | 13073 | LBS4 Q (KVAR) | Y4 | Q(kVar) | 13073 | Y4 Q(kVar)
4L-MRMU | 1 | LBS1 CLOSE/OPEN COMMAND | Y1 | CMD | 1 | Y1 CMD
4L-MRMU | 5 | LBS2 CLOSE/OPEN COMMAND | Y2 | CMD | 5 | Y2 CMD
4L-MRMU | 9 | LBS3 CLOSE/OPEN COMMAND | Y3 | CMD | 9 | Y3 CMD
4L-MRMU | 13 | LBS4 CLOSE/OPEN COMMAND | Y4 | CMD | 13 | Y4 CMD
4L-MRMU | 1000 | LBS1 LOCK/UNLOCK INDICATION | Y1 | Lock/Unlock indication | 1000 | Y1/Lock/Unlock indication
4L-MRMU | 1001 | LBS1 GROUND INDICATION | KY1 | state | 1001 | KY1 state
4L-MRMU | 1002 | LBS2 LOCK/UNLOCK INDICATION | Y2 | Lock/Unlock indication | 1002 | Y2/Lock/Unlock indication
4L-MRMU | 1003 | LBS2 GROUND INDICATION | KY2 | state | 1003 | KY2 state
4L-MRMU | 1004 | LBS3 LOCK/UNLOCK INDICATION | Y3 | Lock/Unlock indication | 1004 | Y3/Lock/Unlock indication
4L-MRMU | 1005 | LBS3 GROUND INDICATION | KY3 | state | 1005 | KY3 state
4L-MRMU | 1006 | LBS4 LOCK/UNLOCK INDICATION | Y4 | Lock/Unlock indication | 1006 | Y4/Lock/Unlock indication
4L-MRMU | 1007 | LBS4 GROUND INDICATION | KY4 | state | 1007 | KY4 state
4L-MRMU | 1008 | Battery low | COMMON | Battery low | 1008 | Battery low
4L-MRMU | 1009 | Gas Low | COMMON | Gas Low | 1009 | Gas Low
4L-MRMU | 1010 | AC power fail | COMMON | AC power fail | 1010 | AC power fail
4L-MRMU | 1011 | Door open | COMMON | Door open | 1011 | Door open
4L-MRMU | 1012 | DC power fail | COMMON | DC power fail | 1012 | DC power fail
4L-MRMU | 1013 | Motor CIRCUIT fail | COMMON | Motor circuit fail | 1013 | Motor circuit fail
4L-MRMU | 1277 | RTU Self diagnostic (RTU alarm) | COMMON | RTU Self diagnostic | 1277 | RTU Self diagnostic
4L-MRMU | 1278 | Fault Indication ( from FI device) | COMMON | EFI (FAULT INDICATION) | 1278 | EFI (FAULT INDICATION)
4L-MRMU | 1283 | Load management system operate
4L-MRMU | 11000 | LBS1 CLOSE INDICATION | Y1 | state | 11000 | Y1 state
4L-MRMU | 11001 | LBS2 CLOSE INDICATION | Y2 | state | 11001 | Y2 state
4L-MRMU | 11002 | LBS3 CLOSE INDICATION | Y3 | state | 11002 | Y3 state
4L-MRMU | 11003 | LBS4 CLOSE INDICATION | Y4 | OPEN INDICATION | 11003 | Y4 OPEN INDICATION
4L-MRMU | 11004 | REMOTE/LOCAL | COMMON | Remote/Local | 11004 | Remote/Local
4L-MRMU | 13015 | LBS1 I_Current (A) | Y1 | I_Current(A) | 13015 | Y1 I_Current(A)
4L-MRMU | 13016 | LBS1 I_Current (B) | Y1 | I_Current(B) | 13016 | Y1 I_Current(B)
4L-MRMU | 13017 | LBS1 I_Current (C) | Y1 | I_Current(C) | 13017 | Y1 I_Current(C)
4L-MRMU | 13018 | LBS1 I_Current (N) | Y1 | I_Current(N) | 13018 | Y1 I_Current(N)
4L-MRMU | 13019 | LBS2 I_Current (A) | Y2 | I_Current(A) | 13019 | Y2 I_Current(A)
4L-MRMU | 13020 | LBS2 I_Current (B) | Y2 | I_Current(B) | 13020 | Y2 I_Current(B)
4L-MRMU | 13021 | LBS2 I_Current (C) | Y2 | I_Current(C) | 13021 | Y2 I_Current(C)
4L-MRMU | 13022 | LBS2 I_Current (N) | Y2 | I_Current(N) | 13022 | Y2 I_Current(N)
4L-MRMU | 13023 | LBS3 I_Current (A) | Y3 | I_Current(A) | 13023 | Y3 I_Current(A)
4L-MRMU | 13024 | LBS3 I_Current (B) | Y3 | I_Current(B) | 13024 | Y3 I_Current(B)
4L-MRMU | 13025 | LBS3 I_Current (C) | Y3 | I_Current(C) | 13025 | Y3 I_Current(C)
4L-MRMU | 13026 | LBS3 I_Current (N) | Y3 | I_Current(N) | 13026 | Y3 I_Current(N)
4L-MRMU | 13027 | LBS4 I_Current (A) | Y4 | I_Current(A) | 13027 | Y4 I_Current(A)
4L-MRMU | 13028 | LBS4 I_Current (B) | Y4 | I_Current(B) | 13028 | Y4 I_Current(B)
4L-MRMU | 13029 | LBS4 I_Current (C) | Y4 | I_Current(C) | 13029 | Y4 I_Current(C)
4L-MRMU | 13030 | LBS4 I_Current (N) | Y4 | I_Current(N) | 13030 | Y4 I_Current(N)
4L-MRMU | 13057 | LBS1 S (KVA) | Y1 | S(kVA) | 13057 | Y1 S(kVA)
4L-MRMU | 13058 | LBS1 P (KW) | Y1 | P(kW) | 13058 | Y1 P(kW)
4L-MRMU | 13059 | LBS1 Q (KVAR) | Y1 | Q(kVar) | 13059 | Y1 Q(kVar)
4L-MRMU | 13060 | LBS2 S (KVA) | Y2 | S(kVA) | 13060 | Y2 S(kVA)
4L-MRMU | 13061 | LBS2 P (KW) | Y2 | P(kW) | 13061 | Y2 P(kW)
4L-MRMU | 13062 | LBS2 Q (KVAR) | Y2 | Q(kVar) | 13062 | Y2 Q(kVar)
4L-MRMU | 13063 | LBS3 V_voltage (A-B) | COMMON | V_voltage (A-B) | 13063 | COMMON V_voltage (A-B)
4L-MRMU | 13064 | LBS3 V_voltage (B-C) | COMMON | V_voltage (B-C) | 13064 | COMMON V_voltage (B-C)
4L-MRMU | 13065 | LBS3 V_voltage (C-A) | COMMON | V_voltage (C-A) | 13065 | COMMON V_voltage (C-A)
4L-MRMU | 13066 | LBS3 V_voltage (N) | COMMON | V_voltage (N) | 13066 | COMMON V_voltage (N)
4L-MRMU | 13067 | LBS3 S (KVA) | Y3 | S(kVA) | 13067 | Y3 S(kVA)
4L-MRMU | 13068 | LBS3 P (KW) | Y3 | P(kW) | 13068 | Y3 P(kW)
4L-MRMU | 13069 | LBS3 Q (KVAR) | Y3 | Q(kVar) | 13069 | Y3 Q(kVar)
4L-MRMU | 13070 | LBS3 Power Factor | Y3 | Power Factor | 13070 | Y3 Power Factor
4L-MRMU | 13071 | LBS4 S (KVA) | Y4 | S(kVA) | 13071 | Y4 S(kVA)
4L-MRMU | 13072 | LBS4 P (KW) | Y4 | P(kW) | 13072 | Y4 P(kW)
4L-MRMU | 13073 | LBS4 Q (KVAR) | Y4 | Q(kVar) | 13073 | Y4 Q(kVar)
LBS | 1 |  | LBS | CMD | 1 | LBS CMD
LBS | 1000 |  | LBS | Lock/Unlock indication | 1000 | LBS/Lock/Unlock indication
LBS | 1001 |  | COMMON | Battery low | 1001 | Battery low
LBS | 1002 |  | COMMON | Gas Low | 1002 | Gas Low
LBS | 1003 |  | COMMON | AC power fail | 1003 | AC power fail
LBS | 1004 |  | COMMON | Door open | 1004 | Door open
LBS | 1005 |  | COMMON | DC power fail | 1005 | DC power fail
LBS | 1006 |  | COMMON | Motor/Actuator(Open/Close)CIRCUIT fail | 1006 | Motor/Actuator(Open/Close)CIRCUIT fail
LBS | 1007 |  | COMMON | Phase loss | 1007 | Phase loss
LBS | 1008 |  | LBS | Overcurrent | 1008 | LBS/Overcurrent
LBS | 1009 |  | LBS | Unbalance | 1009 | LBS/Unbalance
LBS | 1010 |  | LBS | Undervoltage | 1010 | LBS/Undervoltage
LBS | 1011 |  | COMMON | RTU Self diagnostic | 1011 | RTU Self diagnostic
LBS | 1012 |  | LBS | EFI (Fault indication) | 1012 | LBS/EFI (Fault indication)
LBS | 1013 |  | LBS | Dismatch phase | 1013 | LBS/Dismatch phase
LBS | 11000 |  | LBS | state | 11000 | LBS state
LBS | 11001 |  | LBS | Remote/Local | 11001 | LBS/Remote/Local
LBS | 11002 |  | LBS | OH-LBS MODE | 11002 | LBS/OH-LBS MODE
LBS | 13000 |  | LBS | I_Current (A) | 13000 | LBS I_Current (A)
LBS | 13001 |  | LBS | I_Current (B) | 13001 | LBS I_Current (B)
LBS | 13002 |  | LBS | I_Current (C) | 13002 | LBS I_Current (C)
LBS | 13003 |  | LBS | I_Current (N) | 13003 | LBS I_Current (N)
LBS | 13004 |  | LBS | u_rs_value(kV) | 13004 | LBS u_rs_value(kV)
LBS | 13005 |  | LBS | u_st_value(kV) | 13005 | LBS u_st_value(kV)
LBS | 13006 |  | LBS | u_rt_value(kV) | 13006 | LBS u_rt_value(kV)
LBS | 13007 |  | LBS | u_n_upstream_value(kV) | 13007 | LBS u_n_upstream_value(kV)
LBS | 13008 |  | LBS | u_uv_value(kV) | 13008 | LBS u_uv_value(kV)
LBS | 13009 |  | LBS | u_vw_value(kV) | 13009 | LBS u_vw_value(kV)
LBS | 13010 |  | LBS | u_uw_value(kV) | 13010 | LBS u_uw_value(kV)
LBS | 13011 |  | LBS | u_n_downstream_value(kV) | 13011 | LBS u_n_downstream_value(kV)
LBS | 13012 |  | LBS | P (KW) | 13012 | LBS P (KW)
LBS | 13013 |  | LBS | Q (KVAR) | 13013 | LBS Q (KVAR)
LBS | 13014 |  | LBS | Power Factor | 13014 | LBS Power Factor
LBS | 13015 |  | LBS | Counter Setting | 13015 | LBS Counter Setting
SEC | 1 |  | SEC | CMD | 1 | SEC CMD
SEC | 1000 |  | SEC | Lock/Unlock indication | 1000 | SEC/Lock/Unlock indication
SEC | 1001 |  | COMMON | Battery low | 1001 | Battery low
SEC | 1002 |  | COMMON | Gas Low | 1002 | Gas Low
SEC | 1003 |  | COMMON | AC power fail | 1003 | AC power fail
SEC | 1004 |  | COMMON | Door open | 1004 | Door open
SEC | 1005 |  | COMMON | DC power fail | 1005 | DC power fail
SEC | 1006 |  | COMMON | Motor circuit fail | 1006 | Motor circuit fail
SEC | 1007 |  | COMMON | Phase loss | 1007 | Phase loss
SEC | 1008 |  | COMMON | Interlock | 1008 | Interlock
SEC | 1009 |  | SEC | Overcurrent | 1009 | SEC/Overcurrent
SEC | 1010 |  | SEC | Unbalance | 1010 | SEC/Unbalance
SEC | 1011 |  | SEC | Undervoltage | 1011 | SEC/Undervoltage
SEC | 1012 |  | COMMON | RTU Self diagnostic | 1012 | RTU Self diagnostic
SEC | 1013 |  | SEC | EFI (Fault indication) | 1013 | SEC/EFI (Fault indication)
SEC | 11000 |  | SEC | state | 11000 | SEC state
SEC | 11001 |  | SEC | Remote/Local | 11001 | SEC/Remote/Local
SEC | 13000 |  | SEC | I_Current (A) | 13000 | SEC I_Current (A)
SEC | 13001 |  | SEC | I_Current (B) | 13001 | SEC I_Current (B)
SEC | 13002 |  | SEC | I_Current (C) | 13002 | SEC I_Current (C)
SEC | 13003 |  | SEC | I_Current (N) | 13003 | SEC I_Current (N)
SEC | 13004 |  | SEC | u_rs_value(kV) | 13004 | SEC u_rs_value(kV)
SEC | 13005 |  | SEC | u_st_value(kV) | 13005 | SEC u_st_value(kV)
SEC | 13006 |  | SEC | u_rt_value(kV) | 13006 | SEC u_rt_value(kV)
SEC | 13007 |  | SEC | u_n_upstream_value(kV) | 13007 | SEC u_n_upstream_value(kV)
SEC | 13008 |  | SEC | P (KW) | 13008 | SEC P (KW)
SEC | 13009 |  | SEC | Q (KVAR) | 13009 | SEC Q (KVAR)
SEC | 13010 |  | SEC | Power Factor | 13010 | SEC Power Factor
SEC | 13011 |  | SEC | Counter Setting | 13011 | SEC Counter Setting
ARC | 1 |  | ARC | CMD | 1 | ARC CMD
ARC | 1000 |  | ARC | Lock/Unlock indication | 1000 | ARC/Lock/Unlock indication
ARC | 1001 |  | COMMON | Battery low | 1001 | Battery low
ARC | 1002 |  | COMMON | Gas Low | 1002 | Gas Low
ARC | 1003 |  | COMMON | AC power fail | 1003 | AC power fail
ARC | 1004 |  | COMMON | Door open | 1004 | Door open
ARC | 1005 |  | COMMON | DC power fail | 1005 | DC power fail
ARC | 1006 |  | COMMON | Motor circuit fail | 1006 | Motor circuit fail
ARC | 1007 |  | COMMON | Phase loss | 1007 | Phase loss
ARC | 1008 |  | ARC | Dismatch phase | 1008 | ARC/Dismatch phase
ARC | 1009 |  | ARC | Overcurrent | 1009 | ARC/Overcurrent
ARC | 1010 |  | ARC | Unbalance | 1010 | ARC/Unbalance
ARC | 1011 |  | ARC | Undervoltage | 1011 | ARC/Undervoltage
ARC | 1012 |  | ARC | RTU Self diagnostic | 1012 | RTU Self diagnostic
ARC | 1013 |  | ARC | EFI (Fault indication) | 1013 | ARC/EFI (Fault indication)
ARC | 1014 |  | ARC | Protection trip | 1014 | ARC/Protection trip
ARC | 1015 |  | ARC | Protection Health | 1015 | ARC/Protection Health
ARC | 11000 |  | ARC | state | 11000 | ARC state
ARC | 11001 |  | ARC | Remote/Local | 11001 | ARC/Remote/Local
ARC | 11002 |  | ARC | OH-LBS MODE | 11002 | ARC/OH-LBS MODE
ARC | 13000 |  | ARC | I_Current (A) | 13000 | ARC I_Current (A)
ARC | 13001 |  | ARC | I_Current (B) | 13001 | ARC I_Current (B)
ARC | 13002 |  | ARC | I_Current (C) | 13002 | ARC I_Current (C)
ARC | 13003 |  | ARC | I_Current (N) | 13003 | ARC I_Current (N)
ARC | 13004 |  | ARC | u_rs_value(kV) | 13004 | ARC u_rs_value(kV)
ARC | 13005 |  | ARC | u_st_value(kV) | 13005 | ARC u_st_value(kV)
ARC | 13006 |  | ARC | u_rt_value(kV) | 13006 | ARC u_rt_value(kV)
ARC | 13007 |  | ARC | u_n_upstream_value(kV) | 13007 | ARC u_n_upstream_value(kV)
ARC | 13008 |  | ARC | u_uv_value(kV) | 13008 | ARC u_uv_value(kV)
ARC | 13009 |  | ARC | u_vw_value(kV) | 13009 | ARC u_vw_value(kV)
ARC | 13010 |  | ARC | u_uw_value(kV) | 13010 | ARC u_uw_value(kV)
ARC | 13011 |  | ARC | u_n_downstream_value(kV) | 13011 | ARC u_n_downstream_value(kV)
ARC | 13012 |  | ARC | P (KW) | 13012 | ARC P (KW)
ARC | 13013 |  | ARC | Q (KVAR) | 13013 | ARC Q (KVAR)
ARC | 13014 |  | ARC | Power Factor | 13014 | ARC Power Factor
ARC | 13015 |  | ARC | Counter Setting | 13015 | ARC Counter Setting